## General
HP-3 PIP Pricing
Individual Pricing
Sr | Category | Description | Telemetry Package | Basic | Accessories | Installation | Cabling | Total | Incl. AMC (35%), VAT (12.5%) | Notes
Climate Sensors/Equipment
1 | Rainfall | Manual SRG |  | 4000 |  |  |  | 4000 | 6075
2 | Rainfall | Rain Gauge Bucket |  | 50000 |  |  |  | 50000 | 75937.5
3 | Rainfall | Rain Gauge Bucket + RTU2 | P1 (GSM) | 160000 |  |  |  | 160000 | 243000
4 | Rainfall | Rain Gauge Bucket + RTU2 | P1 (VSAT) | 360000 |  |  |  | 360000 | 546750
5 | Rainfall | Rain Gauge Bucket + RTU1 | P2 (GSM) | 325000 |  |  |  | 325000 | 493593.75
6 | Rainfall | Rain Gauge Bucket + RTU1 | P2 (VSAT) | 500000 |  |  |  | 500000 | 759375
7 | Climate | Automatic Weather Station (AWS), no Raingauge |  | 400000 |  | 20000 |  | 420000 | 637875 | Including 2 lakh for solar radiation measurement
8 | Climate | Automatic Weather Station (AWS), no Raingauge | P3 (GSM) | 745000 |  |  |  | 745000 | 1131468.75 | Including 2 lakh for solar radiation measurement
9 | Climate | Automatic Weather Station (AWS), no Raingauge | P3 (VSAT) | 920000 |  |  |  | 920000 | 1397250 | Including 2 lakh for solar radiation measurement
10 | Snow | Snow gauge + snow depth + temp | P4 (GSM) | 625000 |  |  |  | 625000 | 949218.75
11 | Snow | Snow gauge + snow depth + temp | P4 (VSAT) | 800000 |  |  |  | 800000 | 1215000
12 | Civils works | Civil works AWS with telemetry |  | 150000 |  |  |  | 150000 | N/A
Surface Water Sensors/Equipment
13 | Water level | Level Sensor Ultra sonic 5 Mtr |  | 45000 | 5000 | 5000 | 5000 | 60000 | 91125
14 | Water level | Level Sensor Ultra sonic 5 Mtr | P5 (GSM) | 170000 |  |  |  | 170000 | 258187.5
15 | Water level | Level Sensor Ultra sonic 5 Mtr | P5 (VSAT) | 370000 |  |  |  | 370000 | 561937.5
16 | Water level | Level Sensor Ultra sonic 10 Mtr |  | 80000 | 5000 | 5000 | 5000 | 95000 | 144281.25
17 | Water level | Level Sensor Ultra sonic 10 Mtr | P6 (GSM) | 205000 |  |  |  | 205000 | 311343.75
18 | Water level | Level Sensor Ultra sonic 10 Mtr | P6 (VSAT) | 405000 |  |  |  | 405000 | 615093.75
19 | Water level | Level Sensotr Ultrasonic 15 Mtr |  | 110000 | 5000 | 5000 | 5000 | 125000 | 189843.75
20 | Water level | Level Sensotr Ultrasonic 15 Mtr | P7 (GSM) | 235000 |  |  |  | 235000 | 356906.25
21 | Water level | Level Sensotr Ultrasonic 15 Mtr | P7 (VSAT) | 435000 |  |  |  | 435000 | 660656.25
22 | Water level | Float type ( Shaft Encoder) |  | 100000 | 10000 | 10000 | 5000 | 125000 | 189843.75
23 | Water level | Float type ( Shaft Encoder) | P15 (GSM) | 235000 |  |  |  | 235000 | 356906.25
24 | Water level | Float type ( Shaft Encoder) | P15 (VSAT) | 435000 |  |  |  | 435000 | 660656.25
25 | Water level | Float type ( Shaft Encoder) + Stilling Well |  | 100000 | 310000 | 10000 | 5000 | 425000 | 645468.75
26 | Water level | Float type ( Shaft Encoder) + Stilling Well | P15 (GSM) | 535000 |  |  |  | 535000 | 812531.25
27 | Water level | Float type ( Shaft Encoder) + Stilling Well | P15 (VSAT) | 735000 |  |  |  | 735000 | 1116281.25
28 | Water level | Radar 30 Mtr |  | 180000 | 5000 | 10000 | 5000 | 200000 | 303750
29 | Water level | Radar 30 Mtr | P8 (GSM) | 310000 |  |  |  | 310000 | 470812.5
30 | Water level | Radar 30 Mtr | P8 (VSAT) | 510000 |  |  |  | 510000 | 774562.5
31 | Water level | Radar 50 Mtr |  | 220000 | 5000 | 10000 | 5000 | 240000 | 364500
32 | Water level | Radar 50 Mtr | P9 (GSM) | 350000 |  |  |  | 350000 | 531562.5
33 | Water level | Radar 50 Mtr | P9 (VSAT) | 550000 |  |  |  | 550000 | 835312.5
34 | Water level | Radar 100 Mtr. |  | 350000 | 10000 | 15000 | 5000 | 380000 | 577125
35 | Water level | Radar 100 Mtr. | P10 (GSM) | 540000 |  |  |  | 540000 | 820125
36 | Water level | Radar 100 Mtr. | P10 (VSAT) | 740000 |  |  |  | 740000 | 1123875
37 | Water level | Radar 30 Mtr. + Rain Gage |  | 230000 | 5000 | 10000 | 5000 | 250000 | 379687.5
38 | Water level | Radar 30 Mtr. + Rain Gage | P11 (GSM) | 360000 |  |  |  | 360000 | 546750
39 | Water level | Radar 30 Mtr. + Rain Gage | P11 (VSAT) | 560000 |  |  |  | 560000 | 850500
40 | Water level | Radar 50 Mtr. + Rain Gage |  | 270000 | 5000 | 10000 | 5000 | 290000 | 440437.5
41 | Water level | Radar 50 Mtr. + Rain Gage | P12 (GSM) | 400000 |  |  |  | 400000 | 607500
42 | Water level | Radar 50 Mtr. + Rain Gage | P12 (VSAT) | 600000 |  |  |  | 600000 | 911250
43 | Water level | Radar 100 Mtr. + Rain Gage |  | 400000 | 10000 | 15000 | 5000 | 430000 | 653062.5
44 | Water level | Radar 100 Mtr. + Rain Gage | P13 (GSM) | 540000 |  |  |  | 540000 | 820125
45 | Water level | Radar 100 Mtr. + Rain Gage | P13 (VSAT) | 740000 |  |  |  | 740000 | 1123875
46 | Water level | Bubbler Type |  | 300000 | 15000 | 50000 | 10000 | 375000 | 569531.25
47 | Water level | Bubbler Type | P14 (GSM) | 485000 |  |  |  | 485000 | 736593.75
48 | Water level | Bubbler Type | P14 (VSAT) | 685000 |  |  |  | 685000 | 1040343.75
49 | Water level | DWLR Standard |  | 70000 |  | 10000 |  | 80000 | 121500
50 | Water level | DWLR Standard | P16 (GSM) | 190000 |  |  |  | 190000 | 288562.5
51 | Water level | DWLR Standard | P16 (VSAT) | 390000 |  |  |  | 390000 | 592312.5
52 | Water level | Staff gauge |  | 3000 |  |  |  | 3000 | 4556.25
53 | Flow rate | Radar V |  | 800000 |  |  |  | 800000 | 1215000
54 | Flow rate | ADCV-Doppler SL 3000 |  | 550000 | 50000 | 25000 | 15000 | 640000 | 972000
55 | Flow rate | Doppler SL 500 |  | 750000 | 50000 | 25000 | 15000 | 840000 | 1275750
56 | Flow rate | Doppler SL 1500 |  | 650000 | 50000 | 25000 | 15000 | 740000 | 1123875
57 | Flow rate | Doppler Uplooking SW |  | 500000 | 50000 | 25000 | 15000 | 590000 | 896062.5
58 | Mobile flow meter | ADCP |  | 2900000 | 100000 |  |  | 3000000 | 4556250
59 | Mobile flow meter | Hand-Held Current meter |  | 300000 |  |  |  | 300000 | 455625
60 | Gate sensor | Gate Sensors |  | 85000 | 5000 | 5000 | 5000 | 100000 | 151875
61 | Support system | Boats with Outboard engines |  | 1200000 |  |  |  | 1200000 | 1380000 | AMC adjusted
62 | Support system | Bridge outfits |  | ??? |  |  |  | 0 | 0
63 | Support system | Cableways |  | 3000000 |  |  |  | 3000000 | 4556250
64 | Vehicles | Vehicle with crane for ADCP |  | 1200000 |  |  |  | 1200000 | N/A
64 | Survey | Total Station |  | 800000 |  |  |  | 800000 | 900000 | No AMC applicable
65 | Survey | Theodolite |  | ??? |  |  |  | 0 | 0
66 | Survey | Dumpy Levels |  | ??? |  |  |  | 0 | 0
67 | Survey | Echosounder |  | ???? |  |  |  | 0 | 0
67 | Civil works | Enclosure: Kiosk |  | 50000 |  |  |  | 50000 | 75937.5
68 | Civil works | Stilling Well |  | 300000 |  |  |  | 300000 | 455625
69 | Civils works | Civil works river/res. stations with telemetry |  | 125000 |  |  |  | 125000 | 140625 | No AMC applicable
Ground Water Sensors/Equipment
70 | Water level | DWLR |  | 70000 |  |  |  | 70000 | 106312.5
71 | Water level | DWLR + GSM telemetry (GW) | P17 (GSM) | 115000 |  |  |  | 115000 | 174656.25
72 | Water level | DWLR with water quality probes & telemetry |  | 300000 |  |  |  | 300000 | 455625
73 | Water level | Manual GW level indicator (100, 200 m) |  | 25000 |  |  |  | 25000 | 37968.75
74 | Survey | GPS – Hand held-type 1 |  | 12000 |  |  |  | 12000 | 18225
75 | Survey | GPS – Hand held-type 2 |  | 40000 |  |  |  | 40000 | 60750
76 | Survey | Differential GPS |  | 1000000 |  |  |  | 1000000 | 1518750
77 | Geophysics | Resistivity meter |  | 250000 |  |  |  | 250000 | 379687.5
78 | Geophysics | Borehole logging equipment |  | 10000000 |  |  |  | 10000000 | 15187500
79 | Geophysics | Specialised Geophysical Equipments (TEM, MERIS, GPRS ) |  | 17000000 |  |  |  | 17000000 | 25818750
80 | Water Sampling | Sampling pump + accessories |  | 700000 |  |  |  | 700000 | 1063125
81 | Civils works | Medium piezometers (civil works) |  | 75000 |  |  |  | 75000 | N/A
82 | Civils works | Deep piezometers (civil works) |  | 300000 |  |  |  | 300000 | N/A
Water Quality
83 | WQ Field | AWQS (automatic WQ station) |  | 2900000 |  |  |  | 2900000 | 4404375
84 | WQ Field | WQ field kit 1 |  | 500000 |  |  |  | 500000 | 759375
85 | WQ Field | WQ field kit 2 |  | 25000 |  |  |  | 25000 | 37968.75
86 | WQ Lab | Air conditioner |  | 50000 |  |  |  | 50000 | 75937.5
87 | WQ Lab | Analytical Balance Digital |  | 80000 |  |  |  | 80000 | 121500
88 | WQ Lab | Autoclave |  | 100000 |  |  |  | 100000 | 151875
89 | WQ Lab | Automatic Loop Stabilizer |  | 100000 |  |  |  | 100000 | 151875
90 | WQ Lab | Bacteriological Incubator |  | 100000 |  |  |  | 100000 | 151875
91 | WQ Lab | Common Balance |  | 25000 |  |  |  | 25000 | 37968.75
92 | WQ Lab | DO Sampler |  | 25000 |  |  |  | 25000 | 37968.75
93 | WQ Lab | Double Distillation Apparatus |  | 550000 |  |  |  | 550000 | 835312.5
94 | WQ Lab | EC-TDS Analyzer Micro Processor based |  | 80000 |  |  |  | 80000 | 121500
95 | WQ Lab | Electronic Balance |  | 80000 |  |  |  | 80000 | 121500
96 | WQ Lab | Flame Photometer |  | 75000 |  |  |  | 75000 | 113906.25
97 | WQ Lab | Gas Chromotograph |  | 2000000 |  |  |  | 2000000 | 3037500 | Should it be 50 lakh?
98 | WQ Lab | Atomic Absorption Spectro-photometer |  | 900000 |  |  |  | 900000 | 1366875
99 | WQ Lab | Ion Meter with flouride electrode |  | 200000 |  |  |  | 200000 | 303750
100 | WQ Lab | Laminar Air Flow |  | 250000 |  |  |  | 250000 | 379687.5
101 | WQ Lab | Other equipment |  | 2500000 |  |  |  | 2500000 | 3796875
102 | WQ Lab | PH Analyzer Micro Processor based |  | 50000 |  |  |  | 50000 | 75937.5
103 | WQ Lab | Turbidimeter |  | 50000 |  |  |  | 50000 | 75937.5
104 | WQ Lab | UV Spectro Photometer |  | 600000 |  |  |  | 600000 | 911250
105 | WQ Lab | Water Quality Analyzer |  | 100000 |  |  |  | 100000 | 151875
106 | WQ Lab | Water Softener |  | 25000 |  |  |  | 25000 | 37968.75
107 | WQ Lab | Accreditation: Goods (A1.2) |  | 2000000 |  |  |  | 2000000 | N/A
108 | WQ Lab | Accreditation: Consultancy (A1.2) |  | 1000000 |  |  |  | 1000000 | N/A
Telemetry Equipment
109 | Communication | RTU1 + data logger |  | 200000 |  |  |  | 200000 | 303750 | Supports multiple sensors
110 | Communication | RTU2 + data logger |  | 50000 | 5000 | 5000 |  | 60000 | 91125 | Supports 1-2 sensors: includes GSM capabilities
111 | Communication | Solar charger + Panel + Batteries (Solar 40 Watt) |  | 25000 | 5000 | 5000 |  | 35000 | 53156.25
112 | Communication | Control Console (Standard) |  | 15000 |  |  |  | 15000 | 22781.25
113 | Communication | Console for Dam & Other |  | 25000 | 5000 | 10000 |  | 40000 | 60750
114 | Communication | GMS/GPRS Modem (for RTU1) |  | 20000 | 2000 | 3000 |  | 25000 | 37968.75 | annual GSM fee: 5,000 Rs/yr/station
115 | Communication | Wireless Modem (Radio+Modem) |  | 300000 |  |  |  | 300000 | 455625
116 | Communication | VSAT IDU System (KU Band) |  | 100000 |  |  |  | 100000 | 151875 | typical annual VSAT cost: 7,500 Rs/yr/station (4 kbps)
117 | Communication | VSAT IDU System (XC Band) |  | 200000 |  |  |  | 200000 | 303750 | typical annual VSAT cost: 10,000 Rs/yr/station (4 kbps)
118 | Communication | Supervisory control equipment res. gate |  | 500000 |  |  |  | 500000 | 759375
119 | Communication | Servers and data base software GSM/VSAT |  | 4000000 |  |  |  | 4000000 | 6075000 | Commercial data base software for data control; data received through internet
120 | Communication | SCADA system software + IT equipment |  | 4500000 |  |  |  | 4500000 | 6834375 | see PIP MAH-SW
Office/ITC Equipment
121 | Office furnishing | Desktop computers + software |  | 60000 |  |  |  | 60000 | 91125
122 | Office furnishing | Workstation |  | 100000 |  |  |  | 100000 | 151875
123 | Office furnishing | Printer |  | 8000 |  |  |  | 8000 | 12150
124 | Office furnishing | A0 Printer (all-in-one) |  | 500000 |  |  |  | 500000 | 759375
125 | Office furnishing | Laptop + software |  | 60000 |  |  |  | 60000 | 91125
126 | Office furnishing | GSM server (mobile monitoring communities) |  | 1800000 |  |  |  | 1800000 | 2733750
127 | Office furnishing | Mobile handset |  | 6500 |  |  |  | 6500 | 9871.875
128 | Office furnishing | Video conferencing equipment |  | 1400000 |  |  |  | 1400000 | 2126250
129 | Office furnishing | LCD projector |  | 50000 |  |  |  | 50000 | 75937.5
130 | Software | ERDAS (30 licenses) |  | 275000 |  |  |  | 275000 | N/A
131 | Software | ArcGIS |  | 1800000 |  |  |  | 1800000 | N/A
132 | Software | 2-D modeling software |  | 4000000 |  |  |  | 4000000 | N/A
Various
133 | Consultancy | Consultancy services for RTDAS/FEWS |  | 80000000 |  |  |  | 80000000 | N/A
134 | Consultancy | international experts @ 25,000 USD/staff month plus US$ 5,000 for travel and TA/DA |  | 1800000 |  |  |  | 1800000 | N/A
135 | Consultancy | National experts @ 4,500 USD/staff month plus US$ 3,000 for travel and TA/DA |  | 450000 |  |  |  | 450000 | N/A
136 | Training | Specialized training and study tour for FEWS |  | 3000000 |  |  |  | 3000000 | N/A
137 | Vehicles | Inspection vehicles |  | 800000 |  |  |  | 800000 | 900000
Note: Under Operations include O&M of the hydrometeorological network, site offices, residential buildings; one may also add data
Note on D3: Carter Borden: P# refers to the instrument packages presented on the Instrument Package Sheet.

## Telemetry Packages
HP-3 PIP Pricing
Telemetry Package Pricing
[9 empty] | AMC % | 35%
| Package Type | Sensor 1 | Sensor 2 | RTU Type | Power Source | Control Interface | Unit Price (Rs) | Telemetric Method | Unit Price (Rs) | Incl. AMC (35%), VAT (12.5%)
Climate Packages
P1 | Rain Gage - RTU2 | Bucket |  | RTU2 | Solar | Standard |  | GSM | 160000 | 243000
|  | 50000 |  | 60000 | 35000 | 15000 | 160000 | VSAT (XC Band) | 360000 | 546750
P2 | Rain Gage - RTU1 | Bucket |  | RTU1 | Solar | Standard |  | GSM | 325000 | 493593.75
|  | 50000 |  | 200000 | 35000 | 15000 | 300000 | VSAT (XC Band) | 500000 | 759375
P3 | AWS | AWS Devices | Bucket | RTU1 | Solar | Standard |  | GSM | 745000 | 1131468.75
|  | 420000 | 50000 | 200000 | 35000 | 15000 | 720000 | VSAT (XC Band) | 920000 | 1397250
P4 | Snow Gage, Snow Depth, Temperature | Snow gage |  | RTU1 | Solar | Standard |  | GSM | 625000 | 949218.75
|  | 350000 |  | 200000 | 35000 | 15000 | 600000 | VSAT (XC Band) | 800000 | 1215000
Surface Water Packages
P5 | AWLR: Ultrasonic (5m) | Ultrasonic (5m) |  | RTU2 | Solar | Standard |  | GSM | 170000 | 258187.5
|  | 60000 |  | 60000 | 35000 | 15000 | 170000 | VSAT (XC Band) | 370000 | 561937.5
P6 | AWLR: Ultrasonic (10m) | Ultrasonic (10m) |  | RTU2 | Solar | Standard |  | GSM | 205000 | 311343.75
|  | 95000 |  | 60000 | 35000 | 15000 | 205000 | VSAT (XC Band) | 405000 | 615093.75
P7 | AWLR: Ultrasonic (15m) | Ultrasonic (15m) |  | RTU2 | Solar | Standard |  | GSM | 235000 | 356906.25
|  | 125000 |  | 60000 | 35000 | 15000 | 235000 | VSAT (XC Band) | 435000 | 660656.25
P8 | AWLR: Radar (30m) | Radar (30m) |  | RTU2 | Solar | Standard |  | GSM | 310000 | 470812.5
|  | 200000 |  | 60000 | 35000 | 15000 | 310000 | VSAT (XC Band) | 510000 | 774562.5
P9 | AWLR: Radar (50m) | Radar (50m) |  | RTU2 | Solar | Standard |  | GSM | 350000 | 531562.5
|  | 240000 |  | 60000 | 35000 | 15000 | 350000 | VSAT (XC Band) | 550000 | 835312.5
P10 | AWLR: Radar (100m) | Radar (100m) |  | RTU2 | Solar | Standard |  | GSM | 490000 | 744187.5
|  | 380000 |  | 60000 | 35000 | 15000 | 490000 | VSAT (XC Band) | 690000 | 1047937.5
P11 | AWLR + RG: Radar (30m) | Radar (30m) | Bucket | RTU2 | Solar | Standard |  | GSM | 360000 | 546750
|  | 200000 | 50000 | 60000 | 35000 | 15000 | 360000 | VSAT (XC Band) | 560000 | 850500
P12 | AWLR + RG: Radar (50m) | Radar (50m) | Bucket | RTU2 | Solar | Standard |  | GSM | 400000 | 607500
|  | 240000 | 50000 | 60000 | 35000 | 15000 | 400000 | VSAT (XC Band) | 600000 | 911250
P13 | AWLR + RG: Radar (100m) | Radar (100m) | Bucket | RTU2 | Solar | Standard |  | GSM | 540000 | 820125
|  | 380000 | 50000 | 60000 | 35000 | 15000 | 540000 | VSAT (XC Band) | 740000 | 1123875
P14 | Bubbler | Bubbler |  | RTU2 | Solar | Standard |  | GSM | 485000 | 736593.75
|  | 375000 |  | 60000 | 35000 | 15000 | 485000 | VSAT (XC Band) | 685000 | 1040343.75
P15 | Shaft Encoder | Shaft Encoder |  | RTU2 | Solar | Standard |  | GSM | 235000 | 356906.25
|  | 125000 |  | 60000 | 35000 | 15000 | 235000 | VSAT (XC Band) | 435000 | 660656.25
P16 | ADCV - Side Looking | ADCV |  | RTU2 | Solar | Standard |  | GSM | 850000 | 1290937.5
|  | 740000 |  | 60000 | 35000 | 15000 | 850000 | VSAT (XC Band) | 1050000 | 1594687.5
Ground Water Packages
P17 | DWLR: Standard | Standard |  | RTU2 | Solar | Standard |  | GSM | 190000 | 288562.5
|  | 80000 |  | 60000 | 35000 | 15000 | 190000 | VSAT (XC Band) | 390000 | 592312.5
P18 | DWLR: Groundwater | Groundwater |  | RTU2* | Battery | Standard |  | GSM | 140000 | 212625
|  | 70000 |  | 30000 | 10000 | 5000 | 115000 | VSAT (XC Band) | 315000 | 478406.25

## Reservoir system
HP-3 PIP Pricing
Integrated Reservoir Monitoring System
Assumes: AWLR + 5 gate sensors
Sensors | Unit Price (Rs) | Descriptons
Level Sensor Radar (50Mtrs) | 240000 | Main reservoir water level sensor
Gate Measuring Sensor (x5) | 500000 | 5 gate sensors for spillways
Weather Sensors | 420000 | AWS Devices
Rain Bucket | 50000
AWLR: Radar 30 mtr. (x2) | 400000 | Water level sensors on the LB and RB canals
RTU1 | 200000
UPS (8 Hours) | 300000 | Power source
Cabling | 500000
VSAT (XC Band) | 200000
Control console | 40000 | This requires a Genset along with AMF panel.
Total | 2850000
AMC 35%, VAT 12.5% | 4328437.5