## Slide 1: Development of a Hydro/Meteorological Data Management System For improved water management
Objectives Establish a hydrological Data Management System (DMS) comprised of:
Comprehensive hydrological and meteorological database
Analytical tools for computing and analyzing data
Web-based data distribution system.
Notes: These slides summarize the need for a Data Management System or DMS
This system will be designed for the management, archival, and dissemination of surface water, groundwater, water quality, snow, and meteorological data

## Slide 2: Data Management Issues
Quantity of historic and real-time data - Database needed for storage and backup
Analysis and quality assurance - Software integrated with database
Data availability - Maximum value comes from easy access
Notes: These are priority issues for the MoWR with regard to the management of hydrologic data.
Quantity of real-time data 100 stations x 96 observations per day 9,600 observations per day More than 3.5 million observations per year!
Database for archival and protection of data.
Application software needed to quality assure data and compute records quickly and efficiently.
Making data available to water resource managers and other decision makers is critical

## Slide 3: Database
These data are a valuable national asset which are needed to take full advantage of limited water resources.
They need to be stored efficiently to: 1. Protect against loss 2. Be readily available for use by all
The Data Management System (DMS) includes a database for storage and archival of all historic, current, and future hydrological and meteorological data. In addition to Water-quality data (discrete and continuous)
Notes: A database is needed immediately to provide an electronic storage location for historic data and to store and protect new and future data.

## Slide 4: Data Management Issues
Quantity of historic and real-time data - Database needed for storage and backup
Analysis and quality assurance - Software integrated with database
Data availability - Maximum value comes from easy access
Notes: Application software needed to quality assure data and compute records quickly and efficiently.

## Slide 5: Software
Integrated with database for efficiency
Includes a set of useful tools - Rating analysis - Discharge computation - Statistical analyses - Load computation - Model input datasets
Notes: All software should be integrated with the DMS to ensure easy access to relevant data and storage of newly computed streamflow records into the database. Statistical analyses such as frequency and trend analyses for design purposes are much easier with an integrated approach. Generation of model input for reservoir routing or watershed modeling is simplified.

## Slide 6: DMS is capable of supporting
Basic statistical analyses (means, std dev, min/max
Advanced statistical analyses (flood frequency, flow duration, low-flow frequency, trends)
Graphical rating analysis
Supports telemetry and SCADA processing in real time
Flood warning

## Slide 7: DMS (continued)
Groundwater data storage and analyses
Aquifer test data storage
Snow data storage
Water-quality data storage and analysis (discrete and continuous) such as pH, conductivity, sediment, temperature, or salinity
Customized reports
Internet publication of data and analyses (password protected)

## Slide 8: Data Management Issues
Quantity of historic and real-time data - Database needed for storage and backup
Analysis and quality assurance - Software integrated with database
Data availability - Maximum benefit comes from easy access
Notes: Making data available to water resource managers and other decision makers is critical

## Slide 9: Data Access via Internet
Web-based distribution system capable of managing and disseminating historic and current hydrologic and meteorological data is most efficient
Notes: There are numerous customers for the data that the MoWR will provide. These include other ministries such as MoAg, farmers who make crop decisions based on available water supplies, and many more. The best way to ensure that all people needing the data are using the best and approved data sets is to provide the data from a single location by means of web-based applications.

## Slide 10: Data Access (continued)
Access to data is needed by - Water resource managers - Irrigators - Public water supply managers - Hydroelectric facility managers - Emergency managers - Public

## Slide 11: In-house or Off-the-Shelf Software
This question merits careful consideration.
Once you decide on a path it can be difficult and costly to turn back.

## Slide 12: In-house Software
Pros
  Better understanding of your internal corporate needs and objectives
  Open source code rather than proprietary
Cons
  Generally more costly in the end
  Committing staff away from your core-competency which is water not programming

## Slide 13: Off-the Shelf
Pros
  Software developers have well-qualified programmers and maintain the latest tools.
  Competition with other vendors results in constant improvements and lower costs.
Cons
  Custom changes or upgrades can be time consuming and costly

## Slide 14: Technical support
Continuing interaction between the software developer (in-house or vendor) and your personnel will be critical.
If off-the-shelf (OTS) software is purchased make sure and carefully specify technical support requirements that meet your needs rather than agreeing to their stated policy.

## Slide 15: Data Management System
Regardless of whether the decision is made to use in-house or off-the-shelf software, it is critical that the software is up and running and staff are trained to use it early in the HIS development process.

## Slide 16: Questions or Comments?