## Slide 1: Specifications
What should it cover
  Goods
  Services
  Warranty
  Operation and Maintenance

## Slide 2: Technical Specifications
Details to be included
  Not too less, not Too much
Maps and Drawings
GIS locations of Installation

## Slide 3: Specifications - Elements
Description of the Area
  What you have and what you need
  Ambient Site Conditions
Scope of Works
Bidder’s Responsibilities
Purchaser’s Responsibilities
Delivery and Completion Schedule
Training Requirements
Personnel Requirements

## Slide 4: Technical Specifications
Technology and Parameters
  What we need
  What we Demand
  What we get

## Slide 5: Specifications of Goods
Instrument Specifications
  Functional / Operational Parameters
  Physical Parameters
  Support Parameters
Spare parts and manuals
Accessories and Tools

## Slide 6: Specifications of Services
Field Visits
Civil Works
Fencing
Wiring and Enclosures

## Slide 7: Software
Functional Requirements
Licenses
Compatibility with Existing System
Data Formats
Units

## Slide 8: Operation and Maintenance
O&M of complete System
Response time for repairs
Response time for replacements

## Slide 9: Inspections and Tests
Factory Acceptance Test
Receiving Inspection
Site Installation and Acceptance Tests
Operational Test (OT)
Final Acceptance

## Slide 10: Technical Responsiveness
Item
Technical specifications Demanded
Specification offered by bidder with brand and Model No
Complied/ Not Complied