## Slide 1
Water Information Management System (WIMS)
National Water Informatics Centre
Ministry of Jal Shakti
Department of Water Resources, RD & GR

## Slide 2: Online WIMS Training Session
Topic : Telemetry Management in WIMS. How to create/edit telemetry station, sensor/data type mapping and sensor configuration in WIMS?
Date of Training: 24/06/2021
Venue: Online Webinar
Organised By : NWIC,NHP, NPMU
.
National Water Informatics Centre(NWIC)

## Slide 3: Welcome
.

## Slide 4
Contact Details :
Trainer Name : Meet Kumar Agarwal
Department : National Water Informatics Centre(NWIC) Email Id :helpdesk-nwic@gov.in Contact No : 9650866776
Water Information Management System (WIMS)
National Water Informatics Centre(NWIC)

## Slide 5: Training Topics (For Surface Water/Ground Water)
How to transmit telemetric data in WIMS
Add /Edit Telemetric Station for Surface Water and Ground Water station types
Data Type/Sensors Mapping for SW and GW station types for telemetric stations
How to configure the sensors on telemetry sites in WIMS ?
In Sensor Hub Configuration (SW /GW i) Create Data Logger Configuration ii) Add Sensor Configuration iii) Edit Sensor Configuration
How to delete the sensors from data logger id in WIMS?
How to monitor, view , verify & download telemetric data by using data view or data view management in WIMS?
Questions and Answers with Feedback
Telemetry Management in WIMS

## Slide 6: Login into WIMS (Water Information Management System) Enter Login, Password & Captcha details based on the User Agency. Click on Login button

## Slide 7
Home page of WIMS will be displayed on screen after login into WIMS application. User once done with the work can logout the session using the Logout Icon on the right top corner. Home Icon is to navigate back to the main page from sub modules page

## Slide 8: TELEMETRY MANAGEMENT IN WIMS

## Slide 9
Telemetry Management for Surface Water and Ground Water Station Types in WIMS

## Slide 10
Telemetry Management (INSAT/GPRS) for both Surface Water and Ground Water in WIMS

## Slide 11
Add/Edit Telemetric Station (Surface Water /Ground Water Station Types) in WIMS

## Slide 12: Add/ Edit Telemetric Station in WIMS For Ground Water Station Type

## Slide 13: Add/ Edit Telemetric Station in WIMS For Ground Water

## Slide 14: Sensor Mapping for Ground Water telemetric stations(DWLR) in WIMS

## Slide 15
Add/Edit Telemetric Station in WIMS
For Surface Water Station Type

## Slide 16: Sensors/ Data Type Mapping for Surface Water Telemetric Stations

## Slide 19: FTP Configuration for Ground Water Agencies

## Slide 20: FTP Configuration for Surface Water Agencies

## Slide 21: How to configure the sensors on telemetry sites in WIMS ? i) Create Data Logger Configuration ii) Add Sensor Configuration iii) Edit Sensor Configuration In Sensor Hub Configuration (Surface Water / Ground Water Station Types)

## Slide 22: Sensor Hub Configuration for Ground Water & Surface Water Station Types-

## Slide 23: Create Data Logger Id for GW DWLR Stations

## Slide 24: Create Data Logger Id for GW DWLR Stations

## Slide 25: Edit Data Logger Id for GW DLWR Stations

## Slide 26: Add Sensor’s Configuration on GW DWLR telemetric Stations

## Slide 27: Edit Sensor’s Configuration on GW DWLR telemetric Stations

## Slide 28
Create Data Logger Configuration for Surface Water Telemetric Station

## Slide 29
Edit Data Logger ID Configuration for Surface Water Telemetric Station

## Slide 30
Add Sensor Configuration(Ex. HHT) for Surface Water Telemetric Station

## Slide 31
Add Sensor Configuration(Ex. HHT) for Surface Water Telemetric Station

## Slide 32
Edit Sensor Configuration for Surface Water Telemetric Stations

## Slide 33
How to delete or remove the sensors from telemetric stations in WIMS? - Ground Water Station Type

## Slide 35: Delete the sensors from Surface Water Telemetric Stations

## Slide 36: Data View – Surface Water/ Ground Water

## Slide 37: Data View – Ground Water

## Slide 38: Data View (Ground Water)

## Slide 39: Data View – Surface Water

## Slide 40: Data View

## Slide 41: Data View

## Slide 42: Data View Management (Surface Water/Ground Water)

## Slide 43: Data View Management (Surface Water Station Type)

## Slide 44: Data View Management (Surface Water Station Type)

## Slide 45: Data View Management (Surface Water Station Type)

## Slide 46: Data View Management (Ground Water Station Type)

## Slide 47: Data View Management (Ground Water Station Type)

## Slide 48: Data View Management (Ground Water Station Type)

## Slide 49: Data View Management (Ground Water Station Type)

## Slide 50
Questions and Answers with Feedback
For any query & help, you can send email on helpdesk-nwic@gov.in

## Slide 51
THANK YOU