## Slide 1
METEOROLOGICAL DATA COLLECTION NETWORK OF IMD

## Slide 2: Meteorological instrument Observer
Meteorological Observation
(In situ & Remote sensing)

## Slide 3: Meteorological Variables Weather Forecasting Climate Study

## Slide 4: 1. Temperature 1.1 Air Temperature 1.2 Wet Bulb Temperature 1.3 Maximum Temperature 1.4 Minimum Temperature 1.5 Soil Temperature 1.6 Grass Minimum Temperature 1.7 Leaf Temperature 1.8 Sea Surface Temperature

## Slide 5: 2.Humidity 2.1 Dew Point Temperature 2.2 Relative Humidity 2.3 Vapour Pressure 3. Atmospheric Pressure 3.1 Station Level Pressure 3.2 MSL Pressure/Std. Level 3.3 Pressure Tendency

## Slide 6: 4. Cloud 4.1 Form 4.2 Amount 4.3 Direction 4.4 Height of Cloud Base 4.5 Height of Cloud Top

## Slide 7: 5. Wind 5.1 Speed 5.2 Direction 5.3 Gust 6. Precipitation 6.1 Amount 6.2 Depth of Snow 6.3 Thickness of Ice Accretion 6.4 Intensity

## Slide 8: 7. Radiation 7.1 Sunshine Duration 7.2 Solar Radiation 8. Visibility 8.1 Meteorological Optical Range (MOR) 8.2 Runway Visual Range (RVR)

## Slide 9: 9. Waves 9.1 Wave Height 9.2 Wave Period 9.3 Wave Direction

## Slide 10: 10. Evaporation 11. Soil Moisture 12. Present & Past Weather 13. Ozone Observation 14. Atmospheric Observation

## Slide 11: OBSERVING SYSTEM 1. Manned Weather Station 2. Automatic Weather Station 3. Aeronautical Met. Station 4. Agro Meteorological Station 4.1 Evapotranspiration Observation 4.2 Soil Moisture Observation 4.3 Dew gauge Observation

## Slide 12: 5. Upper Air Observation 5.1 Pilot Balloon Observation 5.2 Radiosonde Observation 5.3 Radiowind Observation 5.4 Dropsonde Observation 5.5 Aircraft Observation 5.6 Rocket Observation

## Slide 13: 6. Marine Observation 7. Profiler Station 7.1 RADAR (RAdio Detection And Ranging) 7.2 LIDAR (LIght Detection And Ranging) 7.3 SODAR (SOund Detection And Ranging) 7.4 RASS (Radio Acoustic Sounding System) 7.5 Wind Profiler

## Slide 14: 8. Atmospheric Observation 9. Urban Observation 10.Road Observation 11.Satellite Observation

## Slide 15: INSTRUMENTS
Measurement of Meteorological variable for Weather analysis, forecast & warning, weather dependent operation and climate study

## Slide 16: SURFACE OBSERVATORY

## Slide 17: THERMOMETER & STEVENSON SCREEN
SSS DSS

## Slide 18: KEW PATTERN BAROMETER

## Slide 19: WIND VANE measures wind direction

## Slide 20: ANEMOMETER measures wind speed

## Slide 21: Ordinary Rain Gauge (ORG)

## Slide 22: SNOW GAUGE
A snow gauge is a type of instrument used by meteorologists to gather and measure the amount of solid precipitation. The depth of snow is normally measured in centimeters, the measurement of melted snow (water equivalent) is in millimeters.

## Slide 23: SELF RECORDING RAIN GAUGE
Obtain continuous record of rainfall

## Slide 24: Thermograph
A thermograph gives a continuous record of the temperature of the air.

## Slide 25: Hair Hygrograph
The hair hygrograph is an instrument used for recording continuously the relative humidity of the air.

## Slide 26: Barograph
Barograph is an instrument for the continuous recording of atmospheric pressure.

## Slide 27: ANEROID BAROMETER

## Slide 28: SUNSHINE RECORDER
Records hours of bright sun shine

## Slide 29: AUTOMATIC WEATHER STATION

## Slide 30: RADIATION INSTRUMENTS

## Slide 31: DISDROMETER
A disdrometer is an instrument used to measure the drop size distribution and velocity of falling hydrometeors. The latest disdrometers employ microwave or laser technologies. 2D video disdrometers can be used to analyze individual snowflakes.

## Slide 32: Present Weather Sensor

## Slide 33: CEILOMETER
A ceilometer is a device that uses a laser or other light source to determine the height of a cloud base. Ceilometers can also be used to measure the aerosol concentration within the atmosphere.

## Slide 34: RUNWAY VISIBLE RANGE

## Slide 35: LYSIMETER

## Slide 36: OPEN PAN EVAPORIMETER

## Slide 37: BUOY OBSERVATION

## Slide 38: SHIP OBSERVATION

## Slide 39: Sea Surface Temperature

## Slide 40: RADAR
Prediction of Cyclone, Thunderstorm, Hailstorm, Tornado, Rainfall, Wind etc.

## Slide 41: Radar Picture

## Slide 42
SODAR remotely measures turbulence and wind profile
SODAR

## Slide 43: Radio Acoustic Sounding System
A radio acoustic sounding system (RASS) is a system for measuring the atmospheric lapse rate using backscattering of radio waves from an acoustic wave front to measure the speed of sound at various heights above the ground.

## Slide 44: SPECTROPHOTOMETER
Dobson spectrophotometers can be used to measure both total column ozone and profiles of ozone in the atmosphere

## Slide 45: SATELLITE
INSAT-3D

## Slide 46: Satellite Meteorology

## Slide 47: SATELLITE PRODUCTS
INSAT 3D HAS 6-CHANNEL IMAGER
& 19-CHANNEL SOUNDER
PRODUCT
Normalized Differential Vegetative Index (NDVI)
Outgoing Long wave Radiation(OLR)
QPF,SST,AMV,H-E
Water Vapor Wind Vector

## Slide 48: SATELLITE PRODUCTS
Lifted Index
Cyclone Position & Intensity
Vertical profile of Temp. & Humidity
Stability Indices
Total Precipitable Water
Total Column Ozone
Cloud Motion Vector(CMV)
Cloud Top Temperature(CTT)

## Slide 49: NETWORK of IMD
SURFACE OBSY 440
RSRW 39
PBO 62
AWS 691
ARG 746
AERONAUTICAL 71
RADAR 29

## Slide 50: NETWORK of IMD
AGROMET 130
SEISMO 55
TSUNAMI WARNING 17
ATMOSPHERIC 11
OZONE 4
RADIATION 45
NON-DEPT RG 8579

## Slide 51
Thank You
imd.gov.in
imdaws.gov.in